## Sheet1
Building | Boiler - Age | Boiler - Size | Boiler - Pump Power | Cold Water Supply - Pump Power | Cold Water Supply - Age | Heating - Electrical Power Source | Heating - Non Electrical Power Source | Heating - Pump Power | Heating - Radiators | Heating - Age | Cooling - Power | Cooling - Age | Ventilation - Room - Outgoing - Power | Ventilation - Room - Circulating - Power | Ventilation - Room - Ingoing - Power | Ventilation - Wall - Outgoing - Power | Ventilation - Wall - Circulating - Power | Ventilation - Wall - Ingoing - Power | Ventilation - Central - Outgoing - Power | Ventilation - Central - Circulating - Power | Ventilation - Central - Ingoing - Power | Ventilation - Room - Outgoing - Volume Flow | Ventilation - Room - Circulating - Volume Flow | Ventilation - Room - Ingoing - Volume Flow | Ventilation - Wall - Outgoing - Volume Flow | Ventilation - Wall - Circulating - Volume Flow | Ventilation - Wall - Ingoing - Volume Flow | Ventilation - Central - Outgoing - Volume Flow | Ventilation - Central - Circulating - Volume Flow | Ventilation - Central - Ingoing - Volume Flow | Ventilation - Cooling Power | Ventilation - Heating Power | Ventilation - Heat Recovery Power | Ventilation - Age | Betriebstechnikraum | Biological Laboratory | Changin Room | Chemical Laboratory | Conference | DV-Raum | Dining Room | Electrical Laboratory | Electronic Laboratory | Elevator | Garage | General Laboratory | Isotopic Laboratory | Kitchen | Lecture Room | Library | Living Room | Office | Office Kitchen | Other | Physical Laboratory | Reception | Refrigerated Room | Rest Area | Server Room | Shower | Storage | Technological Laboratory | Traffic Area | WC | Workshop
110 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 5.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3478 | 0 | 0 | 23.2 | 0 | 0 | 9.9403 | 0 | 3.0067 | 13.76 | 0 | 2.247 | 3.6166 | 190.9357
112 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 18.2659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2035.8243 | 0 | 67.2826 | 0 | 89.419 | 33.6695 | 0 | 0 | 0 | 9.6336 | 0 | 1071.1695 | 0 | 0 | 0 | 0 | 0 | 713.5821 | 0 | 129.1728 | 47.75 | 115.2331 | 0 | 47.1531 | 0 | 34.7175 | 747.7275 | 0 | 1567.2695 | 59.5941 | 697.3075
130 | 3 | 300 | 0.0435 | 0.75 | 6 | 0 | 0 | 2.086 | 258 | 9 | 55.64 | 11 | 19.865 | 0 | 0 | 0 | 10.4 | 0 | 31.2 | 0 | 34.5 | 20420 | 0 | 5045 | 0 | 9800 | 0 | 38925 | 0 | 51525 | 305.04 | 494.11 | 0 | 5 | 2135.9548 | 0 | 46.4597 | 554.2237 | 92.8536 | 123.6765 | 0 | 0 | 0 | 28.2524 | 0 | 205.184 | 0 | 0 | 89.97 | 0 | 0 | 957.7003 | 13.9514 | 150.2276 | 864.4304 | 55.5928 | 0 | 35.7242 | 0 | 4.2265 | 400.5743 | 0 | 1661.4094 | 145.24 | 1423.0373
150 | 40 | 1500 | 0.188 | 0.75 | 29 | 0 | 0 | 3.7 | 0 | 21 | 72.33 | 5 | 14.42 | 0 | 0 | 0.65 | 0 | 0 | 0 | 0 | 0 | 48000 | 0 | 0 | 2700 | 0 | 0 | 16650 | 0 | 0 | 0 | 0 | 27.76 | 8 | 457.0656 | 0 | 48.817 | 0 | 44.66 | 7.87 | 0 | 0 | 15.9415 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155.0596 | 0 | 134.5828 | 341.2379 | 9.4439 | 0 | 33.84 | 0 | 20.2409 | 169.1888 | 0 | 284.0666 | 17.8814 | 570.8807
160 | 34 | 200 | 0 | 0 | 34 | 0 | 0 | 0.876 | 0 | 20 | 0 |  | 8.8 | 0 | 55.8 | 0.048 | 0 | 0 | 0 | 0 | 0 | 21610 | 0 | 21610 | 840 | 0 | 0 | 0 | 0 | 0 | 0 | 46.5 | 0 | 36 | 285.39 | 0 | 0 | 0 | 16.65 | 50.39 | 0 | 0 | 0 | 0 | 30.15 | 0 | 0 | 0 | 0 | 0 | 0 | 13.025 | 28.91 | 188.84 | 0 | 45.27 | 0 | 18.73 | 0 | 0 | 3.81 | 0 | 204.27 | 40.01 | 0
170 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 205.5587 | 0 | 0 | 18.91 | 0 | 34.74 | 0 | 0 | 27.82 | 8.56 | 0 | 9.33 | 0 | 0 | 0 | 0 | 0 | 14.38 | 0 | 82.49 | 208.74 | 3.3 | 0 | 0 | 0 | 0 | 36.9 | 0 | 397.529 | 19.58 | 882.8
190 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 259.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.11 | 0 | 0 | 0 | 0
210 |  | 0 | 0 | 0 |  | 0 | 0 | 0.18 | 19 | 39 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99.6071 | 7.1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1753 | 18.2672 | 0 | 42.9284 | 9.3995 | 12
211 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 42 | 18 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7.808 | 0 | 0 | 0 | 60.0624 | 11.7116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262.3302 | 13.8752 | 0 | 0 | 4.45 | 0 | 11.1872 | 0 | 0 | 0 | 0 | 110.276 | 18.546 | 0
212 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 45 | 18 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7.808 | 0 | 0 | 0 | 24.472 | 11.7116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 331.5371 | 2.688 | 0 | 0 | 4.45 | 0 | 0 | 0 | 0 | 0 | 0 | 116.744 | 18.546 | 0
213 |  | 0 | 0 | 0 |  | 0 | 0 | 0.037 | 49 | 18 | 26.1 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 18 | 12.7616 | 0 | 0 | 0 | 24.2406 | 11.1872 | 0 | 0 | 15.1639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 219.2116 | 3.712 | 0 | 27.6775 | 4.45 | 0 | 23.4232 | 0 | 0 | 0 | 0 | 110.3684 | 18.546 | 30.0656
214 |  | 0 | 0 | 0 | 7 | 0 | 0 | 5.5 | 27 | 7 | 0 |  | 11.166 | 1.45 | 0 | 0 | 0 | 0 | 69.6 | 2.2 | 114 | 20000 | 0 | 0 | 0 | 0 | 0 | 98500 | 5000 | 100000 | 726.67 | 1171.35 | 537.71 | 7 | 1477.19 | 0 | 45.9229 | 388.9954 | 0 | 8.7719 | 0 | 0 | 0 | 80.2127 | 0 | 1042.8561 | 0 | 0 | 0 | 0 | 0 | 49.6741 | 0 | 62.0483 | 158.8521 | 44.2594 | 0 | 38.8824 | 0 | 0 | 574.5092 | 0 | 1015.1425 | 30.195 | 38.9321
215 |  | 0 | 0 | 0 |  | 0 | 0 | 0.625 | 12 | 11 | 11.4 | 8 | 6 | 0 | 0.75 | 0 | 0 | 0 | 3 | 0 | 11 | 3950 | 0 | 2450 | 0 | 0 | 0 | 5700 | 0 | 14700 | 148 | 247.6 | 0 | 14 | 117.56 | 0 | 0 | 0 | 0 | 0 | 0 | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.82 | 0 | 12.38 | 36.61 | 0 | 0 | 0 | 0 | 0 | 0 | 43.39 | 47.43 | 4.06 | 77.83
216 |  | 0 | 0 | 1.5 | 4 | 0 | 0 | 0.037 | 16 | 3 | 0 | 4 | 0.263 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 5.5 | 3310 | 0 | 0 | 0 | 0 | 0 | 10310 | 0 | 10310 | 68 | 118 | 92 | 4 | 152.95 | 0 | 0 | 146.25 | 0 | 8.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.3 | 0 | 0 | 0 | 5.7 | 0 | 145.81 | 0 | 0 | 0 | 0 | 0 | 6.2 | 0 | 131.84 | 25.48 | 0
217 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 2 | 8 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 37.6867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
218 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 24 | 3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7.8384 | 0 | 0 | 0 | 33.1776 | 7.8384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190.2002 | 0 | 0 | 0 | 3.5635 | 0 | 0 | 0 | 0 | 0 | 0 | 65.637 | 11.8613 | 0
220 | 9 | 185 | 0.04 | 0 |  | 0 | 0 | 0.25 | 6 | 8 | 0 |  | 0 | 0 | 0 | 0 | 1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 80.649 | 0 | 15.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.8028 | 0 | 0 | 0 | 1.7451 | 0 | 14.1553 | 0 | 0 | 33.53 | 0 | 30.9804 | 15.2929 | 220.9509
230 |  | 200 | 0.2088 | 0 |  | 0 | 0 | 1.3 | 23 | 7 | 111.97 | 11 | 12.12 | 1.49 | 0 | 0 | 0 | 0 | 0.55 | 50.1 | 40.6 | 43730 | 11700 | 0 | 0 | 0 | 0 | 144930 | 84500 | 162400 | 452.15 | 503.34 | 0 | 29 | 1110.4806 | 0 | 0 | 142.464 | 181.5048 | 43.3227 | 0 | 0 | 0 | 26.0436 | 0 | 35.8798 | 0 | 0 | 0 | 0 | 0 | 1008.2257 | 0 | 98.0723 | 1526.7523 | 118.9425 | 0 | 62.8618 | 6.1029 | 21.7263 | 955.7611 | 218.1208 | 2212.4436 | 101.3406 | 942.8442
240 |  | 80 | 0 | 5.9 | 12 | 0 | 0 | 2 | 295 | 10 | 129.05 | 7 | 5.75 | 0.5 | 11 | 0 | 0 | 0 | 18.67 | 0 | 48.5 | 1000 | 0 | 10900 | 0 | 0 | 0 | 110840 | 0 | 85630 | 368 | 625.9 | 378 | 11 | 553.6271 | 9.9717 | 23.3068 | 235.3996 | 145.9403 | 86.7479 | 0 | 0 | 79.7036 | 42.8665 | 0 | 0 | 0 | 0 | 0 | 53.2137 | 0 | 1110.4589 | 37.6424 | 111.5356 | 1031.9082 | 15.1167 | 38.53 | 64.2803 | 0 | 25.7924 | 315.9519 | 1037.6755 | 1768.3521 | 161.6787 | 392.6942
250 |  | 0 | 0 | 0.44 | 5 | 0 | 0 | 0.8 | 104 | 9 | 69.54 | 6 | 8.267 | 0 | 0.78 | 0 | 0 | 0 | 2 | 0 | 10.8 | 22484 | 0 | 10000 | 0 | 0 | 0 | 1100 | 0 | 10800 | 87.2 | 137.2 | 0 | 5 | 250.192 | 0 | 20.007 | 0 | 212.3454 | 61.771 | 0 | 0 | 493.7036 | 15.962 | 0 | 77.2355 | 0 | 0 | 0 | 0 | 0 | 490.6934 | 12.8475 | 7.6385 | 31.1291 | 34.8126 | 0 | 36.1741 | 0 | 10.0065 | 202.1099 | 0 | 709.0866 | 57.7153 | 267.2967
270 | 10 | 600 | 0.077 | 0 |  | 0 | 0 | 0 | 40 | 14 | 4.3 | 20 | 0 | 1.08 | 0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12000 | 4800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.54 | 0 | 35 | 145.5378 | 0 | 146.06 | 0 | 52.7318 | 0 | 0 | 0 | 0 | 16.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.0387 | 0 | 0 | 0 | 12.2852 | 0 | 81.0604 | 0 | 17.5129 | 608.4434 | 0 | 203.8354 | 55.2431 | 42.995
290 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 33 | 18 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 5.5936 | 0 | 0 | 0 | 0 | 11.7116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 214.2901 | 5.2864 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.02 | 0 | 90.242 | 23.4232 | 0
310 | 33 | 1000 | 0.205 | 0.98 | 19 | 0 | 0 | 0.726 | 135 | 9 | 117 | 19 | 4.73 | 0.245 | 1.1 | 0 | 0 | 0 | 6.2 | 6.7 | 15.8 | 0 | 6000 | 2500 | 0 | 0 | 0 | 16600 | 15100 | 36100 | 236.6 | 422.6 | 161.6 | 47 | 307.7614 | 0 | 146.1024 | 0 | 100.368 | 6.7437 | 0 | 0 | 0 | 18.946 | 0 | 0 | 0 | 0 | 148.4931 | 0 | 0 | 525.4948 | 16.7844 | 0 | 216.8985 | 14.6179 | 0 | 78.2407 | 0 | 19.4976 | 1181.3053 | 0 | 902.1911 | 106.2609 | 2137.8692
311 | 13 | 200 | 0.057 | 0 | 11 | 0 | 0 | 0.43 | 28 | 11 | 0 |  | 4.25 | 0 | 0 | 0 | 0 | 0 | 0.25 | 0 | 29.5 | 9330 | 0 | 0 | 0 | 0 | 0 | 1150 | 0 | 9100 | 94 | 94 | 0 | 11 | 80.55 | 0 | 0 | 264.91 | 38.12 | 14.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5025 | 0 | 0 | 49.2225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 187.55 | 4.54 | 0
312 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 3 | 7 | 0 |  | 0 | 0 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 7 | 393.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.81 | 0 | 0 | 0 | 0 | 10.49 | 0 | 14.47 | 6.5 | 0
316 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2.5266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.0521 | 0 | 0 | 177.2211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4655 | 0
320 |  | 400 | 0.55 | 7 |  | 2 | 0 | 0.885 | 2 | 9 | 27.96 | 2 | 4.56 | 0 | 12 | 0.04 | 0 | 0 | 24.27 | 0 | 46.24 | 15700 | 0 | 7150 | 0 | 0 | 0 | 44166 | 0 | 99720 | 310 | 1148.8 | 343 | 10 | 780.2385 | 0 | 0 | 655.13 | 80.1242 | 34.4336 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.9719 | 0 | 0 | 575.3166 | 15.9963 | 0 | 805.2441 | 0 | 0 | 12.75 | 0 | 21.47 | 550.0367 | 0 | 1172.335 | 65.46 | 708.4884
330 |  | 0 | 0 | 0 |  | 0 | 25500 | 132.18 | 34 | 23 | 2.8 | 19 | 0.2 | 0.3 | 0 | 0.158 | 0 | 0 | 0 | 0 | 0 | 2860 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 1818.7667 | 0 | 13.5873 | 0 | 0 | 10.2148 | 0 | 0 | 0 | 3.198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 208.3767 | 15.3122 | 0 | 0 | 2.163 | 0 | 13.9521 | 0 | 0 | 690.8529 | 0 | 185.2189 | 11.7901 | 259.8923
340 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 63.4841 | 0 | 9.6919 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70.4441 | 6.7016 | 1.0742 | 0 | 5.5095 | 0 | 17.7216 | 0 | 0 | 504.6584 | 0 | 82.9821 | 3.7022 | 0
360 |  | 200 | 0.411 | 0 |  | 0 | 0 | 0.45 | 46 | 8 | 1.3 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 1.49 | 0 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 6400 | 0 | 3000 | 0 | 0 | 0 | 41 | 136.6879 | 0 | 0 | 35.6284 | 152.9323 | 18.86 | 0 | 0 | 29.5632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125.6396 | 2.625 | 7.88 | 64.2703 | 0 | 0 | 0 | 0 | 0 | 295.661 | 225.4042 | 221.9206 | 29.0252 | 55.8804
370 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 16 | 0 | 0 | 0.1 | 0 | 0 | 0 | 1.345 | 0 | 3.6 | 0 | 0 | 2480 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.1101 | 0 | 0 | 19.6513 | 0 | 0 | 0 | 6.4451 | 0 | 0 | 0 | 0 | 359.2968 | 0 | 228.4962 | 9.8126 | 488.5089
380 |  | 0 | 0 | 0 |  | 0 | 0 | 0.18 | 15 | 11 | 24 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 16.206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.6298 | 0 | 0 | 0 | 3.9857 | 0 | 0 | 0 | 0 | 1.7748 | 0 | 33.5769 | 14.1432 | 85.1381
390 |  | 0 | 0 | 0 |  | 0 | 140 | 0.19 | 106 | 8 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0.341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400 | 0 | 0 | 0 | 0 | 0 | 8 | 33.7568 | 0 | 6.3496 | 0 | 62.7303 | 25.7377 | 0 | 0 | 0 | 11.88 | 12.8223 | 0 | 0 | 0 | 0 | 0 | 0 | 635.0742 | 30.8982 | 0 | 0 | 21.6893 | 0 | 13.3197 | 0 | 6.7525 | 107.8339 | 0 | 468.1289 | 57.2435 | 0
410 | 14 | 500 | 0.315 | 0 | 14 | 0 | 700 | 0.35 | 62 | 11 | 1.42 | 13 | 16.1 | 0 | 8.05 | 0 | 16 | 0 | 23.35 | 0 | 48 | 21900 | 3120 | 13880 | 0 | 9040 | 0 | 37820 | 0 | 59310 | 417.8 | 449 | 732 | 13 | 620.3999 | 0 | 69.8253 | 0 | 52.8907 | 6.07 | 1357.55 | 0 | 0 | 15.7875 | 0 | 0 | 0 | 166.5826 | 0 | 0 | 0 | 485.3271 | 0 | 96.7654 | 0 | 27.5297 | 59.3608 | 9.766 | 0 | 18.6813 | 232.1936 | 0 | 609.5494 | 83.2016 | 0
411 |  | 0 | 0 | 0 |  | 0 | 0 | 0.095 | 85 | 7 | 0 |  | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3705 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 24.8141 | 0 | 7.88 | 0 | 36.0088 | 11.8864 | 0 | 0 | 0 | 8.7288 | 0 | 0 | 0 | 11.7116 | 85.3711 | 0 | 0 | 89.111 | 0 | 0 | 320.8698 | 30.2179 | 0 | 130.8986 | 0 | 2.688 | 68.6878 | 0 | 344.9215 | 57.1245 | 199.8956
412 |  | 0 | 0 | 0 |  | 0 | 0 | 0.09 | 48 | 30 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 7.8 | 0 | 0 | 0 | 17.5674 | 23.0716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 368.7104 | 8.05 | 0 | 0 | 4.455 | 0 | 0 | 0 | 0 | 11.7116 | 0 | 103.9964 | 18.523 | 0
414 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2.0521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5336 | 0 | 0 | 2.0521 | 0 | 0 | 0 | 0
416 |  | 0 | 0 | 0 |  | 0 | 35 | 0.09 | 39 | 8 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 10.08 | 0 | 0 | 0 | 57.54 | 9.65 | 0 | 0 | 0 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 226.094 | 37.14 | 0 | 0 | 9.28 | 0 | 0 | 0 | 0 | 11 | 0 | 149.82 | 20.11 | 0
430 | 42 | 410 | 0.55225 | 0 | 26 | 0 | 0 | 0.305 | 190 | 33 | 211.95 | 10 | 13.11 | 0 | 0 | 0 | 0 | 0 | 3.55 | 0 | 11.94 | 16940 | 0 | 3200 | 2400 | 0 | 0 | 5220 | 0 | 12850 | 38 | 156 | 0 | 56 | 607.5933 | 0 | 0 | 189.0185 | 65.58 | 40.8653 | 0 | 0 | 0 | 15.0848 | 125.297 | 0 | 32.87 | 0 | 0 | 0 | 0 | 686.3286 | 0 | 17.64 | 161.8225 | 69.8871 | 0 | 39.13 | 0 | 12.81 | 232.589 | 0 | 781.5761 | 55.6297 | 70.935
440 |  | 0 | 0 | 0 |  | 0 | 0 | 0.1 | 20 | 43 | 0 | 43 | 0.35 | 0 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 600 | 0 | 960 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 43 | 22.6527 | 0 | 0 | 19.0876 | 0 | 0 | 0 | 0 | 0 | 0 | 68.44 | 21.6 | 93.23 | 0 | 0 | 0 | 0 | 16.63 | 0 | 3.36 | 92.7287 | 0 | 0 | 0 | 0 | 0 | 43.8052 | 0 | 28.3402 | 5.67 | 0
450 |  | 0 | 0 | 0 |  | 1.5 | 0 | 0 | 18 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 341.7713 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8602 | 0
460 | 9 | 400 | 1.457 | 2.95 | 6 | 0 | 0 | 7.8 | 379 | 20 | 253.22 | 9 | 12.68 | 2.05 | 1.03 | 0.248 | 1.85 | 0 | 0 | 11 | 31.67 | 24480 | 8350 | 2200 | 7235 | 16000 | 0 | 0 | 14500 | 39394 | 331 | 861.25 | 48.4 | 13 | 2522.0699 | 27.67 | 0 | 43.13 | 82.05 | 41.9607 | 0 | 0 | 0 | 20.4495 | 0 | 2056.1988 | 0 | 0 | 0 | 0 | 0 | 815.1637 | 23.21 | 0 | 354.5955 | 60.3401 | 0 | 38.8351 | 0 | 0 | 738.8299 | 0 | 1642.2071 | 44.8013 | 485.2211
470 |  | 0 | 0 | 0 | 3 | 0 | 0 | 0.76 | 184 | 8 | 13.9 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 2.18 | 0 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 30000 | 0 | 33200 | 0 | 31.1 | 0 | 36 | 600.8596 | 0 | 0 | 0 | 1554.0976 | 60.8607 | 0 | 0 | 0 | 11.689 | 0 | 0 | 0 | 0 | 317.5374 | 1845.291 | 0 | 818.8739 | 35.0389 | 26.055 | 0 | 77.4361 | 0 | 64.124 | 0 | 0 | 920.2168 | 0 | 797.2382 | 101.6314 | 0
480 | 28 | 1500 | 0.348 | 16.53 | 9 | 0 | 0 | 3.32 | 642 | 43 | 333.65 | 8 | 28.044 | 0 | 66.2 | 0.15 | 0 | 0 | 8.89 | 0 | 93 | 89569 | 0 | 50230 | 2150 | 0 | 0 | 9160 | 0 | 104600 | 93.5 | 137 | 0 | 14 | 1161.75 | 0 | 37.5668 | 204.9458 | 268.3956 | 239.5319 | 0 | 0 | 71.433 | 57.211 | 0 | 1348.5271 | 53.3417 | 6.9685 | 189.7463 | 6.5063 | 0 | 2098.6737 | 23.4564 | 60.1217 | 778.5895 | 169.0409 | 0 | 60.5576 | 55.96 | 13.7735 | 593.6965 | 0 | 3644.8244 | 241.9652 | 1203.6661
490 |  | 0 | 0 | 0 |  | 0 | 0 | 0.004 | 52 | 31 | 18.4 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 7.808 | 0 | 0 | 0 | 36.1836 | 28.7546 | 0 | 0 | 0 | 0 | 0 | 61.8183 | 0 | 0 | 0 | 0 | 0 | 197.0603 | 2.688 | 0 | 0 | 10.68 | 0 | 0 | 0 | 0 | 5.76 | 0 | 103.808 | 12.316 | 0
510 |  | 160 | 0.0348 | 1.5 |  | 0 | 0 | 1.747 | 323 | 9 | 14.1 | 13 | 15.025 | 0 | 1.67 | 0 | 0 | 0 | 58.17 | 0 | 147.26 | 30191 | 0 | 8650 | 0 | 0 | 0 | 123270 | 0 | 100640 | 680.52 | 637.17 | 418 | 18 | 1159.0462 | 0 | 29.9358 | 185.0834 | 77.3045 | 133.0371 | 0 | 0 | 0 | 0 | 0 | 1020.8696 | 0 | 0 | 89.8958 | 0 | 0 | 723.5992 | 36.5429 | 7.5 | 333.5815 | 61.815 | 0 | 42.9701 | 0 | 0 | 572.1841 | 150.9505 | 1781.2059 | 92.3364 | 928.8953
520 | 25 | 900 | 1.044 | 5.75 | 9 | 0 | 0 | 9.947 | 625 | 9 | 134.17 | 16 | 188.13 | 0 | 0 | 0 | 0 | 0 | 25.97 | 8.1 | 137.65 | 282095 | 3000 | 0 | 5450 | 0 | 0 | 86030 | 18500 | 212900 | 294.6 | 127.2 | 116.3 | 54 | 3773.83 | 51.47 | 20.72 | 149.455 | 258.8 | 173.755 | 0 | 0 | 77.44 | 105.18 | 0 | 2299.0757 | 115.78 | 23.7 | 28.75 | 46.355 | 0 | 1714.0894 | 14.5 | 45.42 | 582.47 | 212.49 | 0 | 43.27 | 25.58 | 92.07 | 3441.8134 | 0 | 4181 | 93.43 | 455.945
530 | 4 | 380 | 0.2162 | 2.25 | 54 | 0 | 0 | 3.45 | 0 | 54 | 54 | 12 | 34.768 | 0.7 | 0 | 0 | 0 | 0 | 22.05 | 0.75 | 18.8 | 65450 | 1000 | 7200 | 0 | 0 | 0 | 41000 | 3000 | 89600 | 379 | 113 | 0 | 54 | 3521.408 | 0 | 84.37 | 1733.8398 | 158.44 | 83.14 | 0 | 0 | 19.61 | 38.8752 | 0 | 173.7 | 0 | 0 | 0 | 40.6 | 0 | 624.1371 | 17.76 | 40.31 | 19.02 | 12.05 | 0 | 52.91 | 0 | 0 | 720.68 | 0 | 2439.3072 | 182.18 | 242.4025
540 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 999.9368 | 0 | 0 | 0 | 0 | 9.4125 | 0 | 0 | 0 | 0 | 0 | 401.6948 | 0 | 0 | 0 | 0 | 0 | 327.9813 | 0 | 20.52 | 0 | 113.2957 | 0 | 33.1358 | 0 | 20.0891 | 429.5079 | 0 | 839.1311 | 17.0542 | 194.2522
550 | 8 | 300 | 0.1 | 0 |  | 0 | 0 | 0 | 48 | 8 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 50.1835 | 0 | 96.4239 | 0 | 17.1856 | 0 | 0 | 0 | 0 | 0 | 54.5436 | 0 | 0 | 0 | 107.1184 | 0 | 0 | 146.5647 | 17.8619 | 0 | 0 | 120.0263 | 0 | 41.6388 | 0 | 0 | 124.5669 | 0 | 140.2109 | 42.7523 | 0
560 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 80.22 | 7 | 0 | 0 | 0 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1630 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.4492 | 0 | 0 | 0 | 0 | 0 | 11.9 | 0 | 0 | 0 | 0
570 |  | 0 | 0 | 0 |  | 0 | 0 | 0.366 | 110 | 2 | 7.4 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 6.36 | 0 | 0 | 0 | 0 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155.7365 | 15.01 | 0 | 0 | 9.3 | 0 | 0 | 0 | 0 | 4.8 | 0 | 61.29 | 10.75 | 0
580 |  | 0 | 0 | 0 |  | 0 | 90 | 0.185 | 70 | 8 | 52.87 | 8 | 3.22 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 6960 | 0 | 0 | 0 | 0 | 0 | 0 | 3100 | 0 | 0 | 0 | 37.5 | 8 | 36.4997 | 0 | 0 | 125.356 | 67.5388 | 15.135 | 0 | 0 | 0 | 5.6 | 0 | 24.67 | 0 | 0 | 0 | 24.43 | 0 | 368.3753 | 23.7505 | 0 | 0 | 18.4179 | 0 | 0 | 0 | 0 | 15.9628 | 0 | 352.218 | 35.4363 | 0
610 |  | 400 | 0.174 | 0 |  | 0 | 0 | 0.35 | 109 | 8 | 0 |  | 0.54 | 0 | 0 | 0 | 0 | 0 | 6.21 | 0 | 5.5 | 375 | 0 | 0 | 0 | 0 | 0 | 24470 | 0 | 31000 | 0 | 125 | 0 | 16 | 375.6975 | 0 | 0 | 665.0565 | 118.4317 | 14.568 | 0 | 0 | 17.6317 | 15.1353 | 0 | 32.67 | 0 | 0 | 0 | 40.565 | 0 | 483.1333 | 106.5145 | 0 | 220.5909 | 27.2562 | 0 | 0 | 0 | 12.9638 | 161.5283 | 0 | 854.4826 | 38.9955 | 13.4861
620 |  | 0 | 0 | 2.25 | 17 | 0 | 0 | 0.38 | 112 | 17 | 12 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 24.68 | 0 | 30.85 | 0 | 0 | 0 | 0 | 0 | 0 | 40503 | 0 | 49000 | 218 | 511 | 217 | 34 | 303.58 | 119.54 | 10.58 | 41.61 | 126.12 | 52.6459 | 0 | 0 | 79.45 | 16.02 | 0 | 676.8913 | 0 | 0 | 0 | 0 | 0 | 264.3129 | 0 | 41.82 | 61.67 | 0 | 6.8 | 50.64 | 0 | 0 | 166.28 | 0 | 752.52 | 74.3 | 10.235
630 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 14 | 15 | 34 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 500 | 10275 | 0 | 0 | 0 | 0 | 0 | 0 | 9300 | 0 | 0 | 0 | 7 | 163.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 136.87 | 0 | 0 | 0 | 0 | 0 | 27.175 | 0 | 730.72 | 0 | 0 | 0 | 0 | 0 | 0 | 74.76 | 0 | 31.26 | 3.8 | 0
640 |  | 0 | 0 | 2.25 |  | 0 | 0 | 0 | 10 |  | 27.4 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1600 | 0 | 0 | 0 | 0 | 11 | 12.054 | 0 | 0 | 0 | 0 | 13.3088 | 0 | 0 | 0 | 0 | 0 | 532.7134 | 0 | 0 | 0 | 0 | 0 | 39.6795 | 0 | 0 | 50.87 | 0 | 0 | 0 | 0 | 0 | 217.24 | 0 | 39.289 | 0 | 0
680 |  | 0 | 0 | 0 | 54 | 0 | 0 | 0 | 6 | 54 | 65 | 16 | 0.35 | 0.7 | 0 | 0.35 | 0 | 0 | 0 | 0 | 0 | 2180 | 4280 | 0 | 2180 | 0 | 0 | 0 | 0 | 0 | 0 | 84 | 0 | 42 | 346.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.47 | 0 | 12.63 | 0 | 0 | 13.34 | 0 | 13.85 | 4.48 | 0
690 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1389 | 0 | 1.0996 | 0 | 18.569 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2176 | 1.7776 | 0
710 | 30 | 800 | 0.3306 | 0 |  | 0 | 600 | 2.3 | 341 | 13 | 0 | 31 | 2.526 | 0 | 1.97 | 0 | 0 | 0 | 4 | 0 | 22.5 | 28610 | 2710 | 4500 | 800 | 0 | 0 | 19000 | 0 | 40000 | 313.4 | 721.7 | 0 | 35 | 376.3687 | 0 | 22.4783 | 0 | 284.3806 | 78.8674 | 0 | 0 | 126.5229 | 59.241 | 0 | 576.4738 | 0 | 0 | 0 | 20.6668 | 0 | 1684.084 | 8.4538 | 24.0608 | 0 | 28.3413 | 0 | 53.401 | 0 | 33.6346 | 268.4271 | 0 | 1658.1824 | 126.7539 | 352.2196
720 | 35 | 300 | 0 | 0.75 | 39 | 0 | 0 | 1.055 | 74 | 39 | 0 |  | 18.96 | 1.31 | 0.685 | 1.4 | 0 | 0 | 17.5 | 1.25 | 42.62 | 73705 | 10600 | 3120 | 5980 | 0 | 0 | 39200 | 8000 | 69200 | 91.4 | 162.4 | 0 | 27 | 2770.0666 | 0 | 7.15 | 0 | 0 | 0 | 0 | 0 | 0 | 22.29 | 0 | 785.99 | 0 | 0 | 0 | 0 | 0 | 202.89 | 0 | 0 | 0 | 67.4 | 0 | 0 | 0 | 0 | 429.48 | 0 | 1443.4864 | 9.72 | 551.85
730 |  | 0 | 0 | 122.25 | 30 | 0 | 0 | 1.05 | 54 | 19 | 24 | 19 | 0.77 | 22.4 | 0 | 0 | 15.4 | 0 | 37 | 0 | 54.3 | 80400 | 128640 | 0 | 0 | 88440 | 0 | 62300 | 0 | 64900 | 827.1 | 453.1 | 76 | 30 | 1585.5349 | 0 | 18.57 | 0 | 48.79 | 48.7222 | 0 | 0 | 0 | 0 | 0 | 1649.0458 | 0 | 0 | 0 | 0 | 0 | 109.855 | 4.5655 | 0 | 30.9152 | 152.6934 | 0 | 0 | 0 | 0 | 62.896 | 0 | 2084.9969 | 24.66 | 2473.7394
750 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
760 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 614.112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
770 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 515.4625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
780 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.7506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
790 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.9807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
910 | 23 | 300 | 0.5875 | 5.045 | 25 | 0 | 0 | 2.589 | 117 | 23 | 272 | 10 | 8.84 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14146 | 57500 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 552.5 | 0 | 49 | 450.6214 | 0 | 14.8879 | 0 | 108.47 | 92.511 | 0 | 0 | 0 | 29.015 | 0 | 82.8867 | 0 | 0 | 0 | 0 | 0 | 858.4471 | 26.1011 | 0 | 301.3947 | 43.2074 | 0 | 27.4897 | 0 | 0 | 842.8728 | 0 | 807.6191 | 67.8488 | 1552.0769
912 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 483.2184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3984 | 0 | 0
930 |  | 0 | 0 | 0 |  | 0 | 25.5 | 0 | 0 | 36 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 794.928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59.0985 | 5 | 77.0982 | 0 | 0 | 9.835 | 0 | 58.0034 | 0 | 129.832 | 0 | 0
932 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.2937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
940 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 6 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6000 | 0 | 0 | 0 |  | 824.9777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5738 | 0 | 0 | 0 | 0 | 61.4606 | 0 | 50.931 | 7.227 | 14.4017
950 |  | 80 | 0 | 0 |  | 0 | 0 | 0 | 23 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 507.0065 | 0 | 31.38 | 57.1038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.986 | 0 | 1.56 | 0 | 7.573 | 0 | 7.2626 | 0 | 6.9024 | 89.9811 | 0 | 258.0716 | 3.958 | 47.78
960 | 34 | 500 | 0.31725 | 1.5 | 34 | 0 | 0 | 1.06 | 0 | 47 | 0 |  | 0 | 6.36 | 0.185 | 0.755 | 0.27 | 0.4 | 0 | 0 | 0 | 264000 | 58480 | 2450 | 11100 | 3080 | 2850 | 600 | 0 | 0 | 0 | 351.8 | 0 | 34 | 222.7884 | 0 | 0 | 0 | 0 | 14.7375 | 0 | 0 | 0 | 0 | 0 | 31.2598 | 0 | 0 | 0 | 0 | 0 | 167.861 | 24.1746 | 16.2565 | 55.1746 | 24.0704 | 0 | 24.7498 | 0 | 16.4252 | 197.4332 | 0 | 112.8803 | 40.5435 | 1920.821
970 | 9 | 80 | 0 | 0 |  | 0 | 0 | 0.18 | 62 | 30 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7850 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 17.15 | 0 | 0 | 0 | 97.3772 | 14.53 | 0 | 0 | 0 | 0 | 0 | 18.09 | 0 | 5.8558 | 0 | 0 | 269.9024 | 176.2395 | 28.7572 | 0 | 0 | 8.79 | 0 | 24.47 | 0 | 6.5826 | 11.71 | 0 | 192.722 | 64.1402 | 42.04
980 |  | 50 | 0 | 2.2 | 4 | 0 | 0 | 1.1 | 17 | 4 | 0 |  | 0.55 | 0 | 0 | 0 | 0 | 0 | 5.15 | 4 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 13030 | 6500 | 0 | 41.4 | 41.6 | 24 | 4 | 52.3204 | 0 | 0 | 0 | 25.515 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96.3798 | 0 | 182.3919 | 89.6484 | 0 | 0 | 15.047 | 0 | 0 | 219.8998 | 0 | 183.9059 | 23.083 | 399.7297
990 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 298.7736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1010 |  | 120 | 0 | 0 | 54 | 0 | 0 | 1.98 | 143 | 9 | 30 | 3 | 3.97 | 0 | 20.5 | 0 | 0 | 0 | 9.84 | 0 | 22.1 | 52300 | 0 | 28000 | 600 | 0 | 0 | 46090 | 0 | 74000 | 235.24 | 404.38 | 0 | 47 | 473.3058 | 0 | 11.5688 | 0 | 116.8179 | 54.1573 | 0 | 0 | 0 | 0 | 0 | 217.9248 | 0 | 0 | 212.6949 | 0 | 0 | 444.4437 | 6.0954 | 32.1508 | 424.4858 | 136.8549 | 0 | 27.7278 | 0 | 6.133 | 503.1968 | 0 | 1142.6983 | 59.1857 | 1502.5795
1013 |  | 0 | 0 | 0 |  | 4 | 0 | 0 | 3 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.4816 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1014 |  | 0 | 0 | 0 | 7 | 0 | 0 | 0.18 | 83 | 7 | 0 |  | 1.14 | 0 | 0 | 0 | 0 | 0 | 2.2 | 0 | 4 | 3700 | 0 | 0 | 0 | 0 | 0 | 5400 | 0 | 6500 | 27.3 | 45.8 | 74.4 | 8 | 194.71 | 0 | 0 | 0 | 35.11 | 54.21 | 0 | 0 | 32.575 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 582.5245 | 9.94 | 0 | 120.56 | 13.72 | 0 | 11.33 | 0 | 0 | 119.8 | 26.9 | 488.62 | 33.6 | 27.07
1016 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 11.0366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1030 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 32 | 29 | 73.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1700 | 0 | 0 | 12 | 11.7 | 5 | 30.4609 | 0 | 0 | 0 | 0 | 8.7578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 189.8821 | 1.7438 | 0 | 135.9738 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.5578 | 18.3107 | 0
1080 |  | 0 | 0 | 0 |  | 0 | 0 | 0.45 | 0 | 54 | 0 |  | 0 | 1.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.5801 | 2.6732 | 0 | 0 | 5.1421 | 0 | 0 | 0 | 0 | 0 | 0 | 35.3175 | 9.2271 | 333.4471
1090 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9000 | 57.9 | 106.3 | 0 | 27 | 670.9845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1210 |  | 0 | 0 | 0 |  | 0 | 0 | 0.085 | 41 | 9 | 0 |  | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 25.8039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.0168 | 0 | 0 | 0 | 0 | 0 | 0 | 128.7742 | 0 | 129.0462 | 0 | 147.9268 | 0 | 19.6826 | 0 | 0 | 144.2127 | 0 | 47.4407 | 41.3186 | 94.6694
1211 | 30 | 1200 | 0.5875 | 0 |  | 0 | 0 | 0.45 | 47 |  | 0 |  | 1.17 | 1.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 135.6787 | 0 | 22.4858 | 0 | 22.84 | 7.1968 | 0 | 0 | 0 | 2.6122 | 542.3085 | 0 | 0 | 27.8447 | 152.3267 | 0 | 0 | 25.8813 | 2.5028 | 78.1248 | 0 | 21.2551 | 0 | 357.3155 | 0 | 9.4642 | 194.9136 | 0 | 428.5928 | 69.2534 | 145.4686
1212 |  | 300 | 0.5 | 0 |  | 0 | 0 | 0.45 | 25 |  | 0 |  | 0 | 2.4 | 1.5 | 0 | 0 | 0.7 | 0 | 0 | 0 | 0 | 6550 | 4950 | 0 | 0 | 3350 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 56.0458 | 0 | 33.8314 | 0 | 20.0164 | 6.8853 | 0 | 0 | 0 | 7.0752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160.1451 | 4.5455 | 20.3695 | 0 | 4.1914 | 0 | 44.9278 | 0 | 0 | 201.7414 | 0 | 209.0179 | 55.0167 | 389.9662
1213 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 47 | 0 |  | 0 | 0.8 | 0 | 0 | 0 | 1.6 | 0 | 0 | 0 | 0 | 1370 | 0 | 0 | 0 | 2740 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 4.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1309.0455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 422.04 | 0 | 0 | 0 | 0 | 0 | 0 | 199.1031 | 0 | 155.2495 | 0 | 0
1214 |  | 160 | 0 | 0 |  | 4 | 0 | 0 | 17 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.82 | 139.194 | 0 | 25.86 | 0 | 14.9483 | 0 | 0 | 15.18 | 0 | 6.3437 | 1.9272 | 0
1215 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 73.2522 | 0 | 12.7041 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 15.925 | 0 | 0 | 28.9134 | 3.3032 | 3.3113 | 0 | 19.2845 | 0 | 0 | 0 | 6.2926 | 1737.8103 | 0 | 62.4296 | 12.5852 | 0
1218 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 18.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.93 | 0 | 137.98 | 0 | 0 | 0 | 0 | 0 | 0 | 2142.32 | 0 | 46.3423 | 0 | 0
1219 |  | 0 | 0 | 0 |  | 0 | 0 | 0.24 | 0 | 54 | 0 |  | 1.48 | 2.5 | 5.6 | 0 | 0 | 0 | 0 | 0 | 0 | 11600 | 1500 | 10760 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 0 | 22 | 5.8187 | 0 | 0 | 14.592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5805 | 0 | 594.7585 | 0 | 0 | 0 | 0 | 0 | 0 | 157.8316 | 0 | 1.8366 | 1.2789 | 0
1220 | 7 | 200 | 0.03132 | 0 |  | 0 | 0 | 0 | 32 | 44 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 306.5136 | 0 | 47.8677 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.5669 | 0 | 0 | 0 | 58.947 | 0 | 11.745 | 0 | 22.6857 | 332.9226 | 0 | 204.4883 | 9.0508 | 9.135
1221 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1224 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2710.3 | 0 | 0 | 0 | 0
1225 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 773.76 | 0 | 0 | 0 | 0
1226 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4.9076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 301.8109 | 16.3662 | 0 | 0 | 2.388 | 0 | 0 | 0 | 0 | 0 | 0 | 59.408 | 8.2592 | 0
1230 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3827.7186 | 0 | 261.61 | 97.795 | 44.5548 | 27.77 | 0 | 0 | 0 | 62.7087 | 0 | 2733.0143 | 0 | 162.37 | 166.16 | 0 | 0 | 543.1565 | 8.73 | 307.3939 | 109.98 | 168.69 | 0 | 175.61 | 0 | 26.68 | 2491.4304 | 0 | 2541.631 | 181.437 | 359.9973
1240 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1260 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 842.43 | 0 | 63.39 | 0 | 0 | 2.73 | 0 | 0 | 0 | 0 | 0 | 382.306 | 68.13 | 0 | 0 | 0 | 0 | 99.86 | 0 | 256.73 | 24.66 | 5.16 | 0 | 27.35 | 13.32 | 0 | 2212.04 | 0 | 1048.94 | 35.1 | 335.86
1270 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.2937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1280 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20.8256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 137.854 | 0 | 0 | 0 | 0 | 0 | 0 | 470.2488 | 0 | 0 | 0 | 0
1310 | 28 | 800 | 0.37 | 0 |  | 0 | 0 | 0.085 | 15 | 8 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 13.0114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9363 | 0 | 62.9563 | 0 | 18.8102 | 0 | 0 | 20.6185 | 66.0214 | 0
1320 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.2937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1410 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.5093 | 0 | 0 | 0 | 115.1558 | 23.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 737.4678 | 16.9087 | 0 | 0 | 0 | 0 | 8.7875 | 0 | 0 | 67.5725 | 0 | 406.1138 | 38.834 | 0
1411 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 1 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 14.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1420 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 72 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7.5326 | 0 | 0 | 0 | 66.6639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 640.28 | 16.584 | 0 | 0 | 15.8965 | 0 | 0 | 0 | 0 | 7.5326 | 0 | 244.784 | 47.448 | 0
1430 | 29 | 200 | 0.174 | 0 |  | 0 | 0.037 | 0.037 | 24 | 43 | 78.65 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5 | 0 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 10100 | 0 | 9370 | 0 | 0 | 0 | 34 | 248.17 | 0 | 0 | 0 | 60.5 | 22.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 151.1001 | 22.75 | 40.65 | 0 | 5.03 | 0 | 6.12 | 0 | 9.25 | 457.1137 | 0 | 207.04 | 19.8 | 31.94
1450 |  | 0 | 0 | 0 |  | 0 | 0 | 1.95 | 124 | 24 | 36 | 3 | 0.316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 126.2969 | 0 | 0 | 0 | 72.4686 | 41.0805 | 0 | 0 | 0 | 27.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 933.4239 | 6.9769 | 83.5128 | 0 | 28.9991 | 0 | 31.8474 | 0 | 0 | 554.7823 | 0 | 799.2363 | 67.0094 | 363.1655
1460 |  | 0 | 0 | 0 |  | 0 | 0 | 3.05 | 290 | 8 | 29 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3785 | 2000 | 0 | 12 | 11 | 0 | 8 | 199.91 | 0 | 0 | 0 | 152.4537 | 125.3393 | 0 | 0 | 0 | 59.494 | 0 | 0 | 0 | 11.59 | 258.13 | 41.5637 | 0 | 3597.4011 | 63.8832 | 0 | 0 | 46.0128 | 0 | 14.4577 | 0 | 0 | 539.7876 | 0 | 2182.8369 | 225.5327 | 6.49
1510 | 30 | 1000 | 0.564 | 0 | 34 | 0 | 0 | 0.5 | 187 | 19 | 16.645 | 20 | 6.356 | 0.6 | 0 | 0.2 | 0 | 0 | 6.64 | 0 | 42.5 | 20960 | 900 | 0 | 300 | 0 | 0 | 34532 | 0 | 36000 | 164.6 | 424.8 | 0 | 30 | 721.7753 | 0 | 46.09 | 0 | 92.7572 | 18.24 | 0 | 0 | 0 | 0 | 0 | 634.8738 | 75.59 | 0 | 0 | 0 | 0 | 243.175 | 0 | 19.6988 | 198.5682 | 7.46 | 30.208 | 35.2684 | 0 | 10.06 | 117.1989 | 0 | 651.7677 | 62.0085 | 92.62
1511 |  | 0 | 0 | 0 |  | 0 | 0 | 0.025 | 2 | 20 | 36.8 | 20 | 0.86 | 0 | 2.2 | 0.326 | 0 | 0 | 0 | 0 | 0 | 9100 | 0 | 3500 | 1850 | 0 | 0 | 0 | 0 | 0 | 160.4 | 176 | 0 | 20 | 30.31 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 2.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 258.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.6 | 0 | 0
1512 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 5 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1513 |  | 0 | 0 | 1 |  | 0 | 0 | 0.18 | 26 |  | 0 | 10 | 0 | 0.5 | 0 | 0 | 0 | 0 | 5.1 | 0 | 15 | 0 | 2200 | 0 | 0 | 0 | 0 | 10600 | 0 | 19080 | 131 | 207.6 | 79.9 | 7 | 95.48 | 0 | 0 | 152.94 | 15.9 | 0 | 0 | 0 | 0 | 6.56 | 0 | 165.91 | 0 | 0 | 88.67 | 0 | 0 | 88.43 | 0 | 22.36 | 93.43 | 6.94 | 0 | 21.97 | 0 | 0 | 26.93 | 0 | 150.76 | 17.86 | 0
1514 |  | 0 | 0 | 1.5 | 11 | 0 | 200 | 0.085 | 30 | 11 | 12 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 5.5 | 2400 | 0 | 0 | 0 | 0 | 0 | 15200 | 0 | 9500 | 54.9 | 54.2 | 125.4 | 11 | 131.497 | 0 | 0 | 18.5 | 37.12 | 16.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119.6153 | 5.49 | 17.6107 | 187.12 | 41.1962 | 0 | 0 | 0 | 0 | 35.6803 | 13.678 | 325.9109 | 18.721 | 0
1515 | 10 | 300 | 0.118 | 0.55 | 10 | 0 | 1000 | 0.17 | 16 | 10 | 0 |  | 1.08 | 0 | 0 | 0 | 0 | 0 | 41.55 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 41395 | 0 | 12000 | 489 | 286.5 | 0 | 10 | 558.3568 | 0 | 23.8303 | 17.3376 | 0 | 9.1266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.6207 | 0 | 269.713 | 0 | 5.31 | 0 | 12.0621 | 0 | 4.0438 | 89.9813 | 0 | 220.1016 | 5.5926 | 0
1518 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1520 | 20 | 2024 | 1.5244 | 5.95 | 34 | 0 | 0 | 2.21 | 365 | 54 | 41.42 | 21 | 16.677 | 0 | 9 | 0.45 | 0 | 0 | 51.12 | 3 | 118.59 | 50032 | 0 | 7635 | 2000 | 0 | 0 | 80363 | 5100 | 97510 | 498.9 | 979.01 | 105.2 | 34 | 3271.296 | 16.0927 | 52.6766 | 409.6998 | 42.7237 | 30.8493 | 0 | 0 | 0 | 66.0862 | 16.8445 | 293.81 | 0 | 34.8426 | 0 | 0 | 486.8608 | 905.292 | 2.52 | 1418.3188 | 274.4846 | 180.5009 | 8.9784 | 36.336 | 79.3419 | 6.2101 | 947.6663 | 0 | 2637.0789 | 213.4091 | 0
1522 |  | 0 | 0 | 0 |  | 0 | 0 | 0.125 | 45 | 9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 13.653 | 0 | 0 | 0 | 12.3771 | 29.3116 | 0 | 0 | 0 | 8.4 | 0 | 0 | 0 | 0 | 0 | 24.9095 | 0 | 211.2587 | 25.367 | 0 | 0 | 7.134 | 0 | 0 | 0 | 0 | 16.9904 | 0 | 263.5049 | 28.0205 | 0
1530 |  | 0 | 0 | 0 |  | 0 | 0 | 0.136 | 614 | 13 | 26.1 | 13 | 0 | 1.58 | 0 | 0 | 0 | 0 | 0 | 0.7 | 0 | 0 | 5135 | 0 | 0 | 0 | 0 | 0 | 6320 | 0 | 35.88 | 0 | 0 | 10 | 180 | 0 | 0 | 0 | 518.83 | 110.81 | 0 | 0 | 0 | 30.79 | 15.72 | 0 | 0 | 0 | 0 | 36.02 | 0 | 3505.1942 | 56.18 | 76.91 | 0 | 124.84 | 0 | 33.7 | 0 | 3.88 | 699.16 | 0 | 2049.02 | 206.41 | 0
1540 | 33 | 1000 | 0.212 | 0 | 33 | 15 | 0 | 0.755 | 255 | 33 | 242.45 | 5 | 25.76 | 2 | 0 | 2.37 | 0 | 0 | 11.437 | 0 | 28 | 43705 | 2000 | 0 | 7290 | 0 | 0 | 34110 | 0 | 43725 | 257.82 | 551.67 | 76.57 | 33 | 988.2368 | 43.0232 | 40.9331 | 0 | 121.8363 | 32.0731 | 0 | 4.4335 | 0 | 18.8695 | 0 | 1534.3438 | 0 | 0 | 0 | 0 | 0 | 511.734 | 4.4988 | 28.99 | 75.3244 | 62.6561 | 19.04 | 66.5738 | 0 | 10.4876 | 454.0394 | 0 | 1276.807 | 68.0728 | 129.8151
1560 |  | 0 | 0 | 0.8 | 54 | 0 | 0 | 0.68 | 39 | 44 | 0.42 |  | 1.7 | 0 | 0.12 | 0.09 | 0 | 0 | 9.2 | 1.5 | 15.2 | 2620 | 0 | 2920 | 1650 | 0 | 0 | 20000 | 2285 | 19300 | 241.6 | 681.4 | 0 | 28 | 306.8886 | 23.2061 | 0 | 38.6478 | 0 | 0 | 0 | 0 | 0 | 7.3128 | 0 | 149.9875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.8722 | 125.9338 | 0 | 0 | 0 | 0 | 0 | 134.6599 | 0 | 235.099 | 21.8822 | 0
1570 | 31 | 300 | 0.1175 | 0 | 44 | 15 | 0 | 0.43 | 0 | 44 | 0 |  | 0.5 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 1800 | 0 | 0 | 0 | 0 | 0 | 1730 | 0 | 2850 | 0 | 0 | 0 | 47 | 99.9625 | 9.8469 | 0 | 0 | 13.1908 | 0 | 0 | 0 | 0 | 4.2341 | 0 | 66.745 | 0 | 0 | 0 | 0 | 0 | 47.9164 | 0 | 8.6776 | 10.625 | 0 | 0 | 0 | 0 | 8.755 | 53.8526 | 0 | 119.5834 | 11.6076 | 0
1580 |  | 80 | 0 | 0 |  | 0 | 0 | 0.54 | 172 | 27 | 0 | 27 | 8.35 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 18.5 | 17360 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 21000 | 56.6 | 356.5 | 0 | 27 | 735.4155 | 46.0691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.492 | 0 | 722.8104 | 0 | 0 | 41.6042 | 0 | 0 | 278.7632 | 0 | 22.5234 | 0 | 27.2178 | 18.5048 | 19.958 | 0 | 13.1126 | 64.3324 | 0 | 512.4202 | 38.0083 | 0
1590 | 16 | 800 | 0.14755 | 0 | 8 | 0 | 0 | 0.185 | 123 | 19 | 10.78 | 19 | 26.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 37090 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29000 | 191.24 | 343.78 | 157.2 | 7 | 359.9079 | 383.2389 | 0 | 11.2012 | 0 | 49.7381 | 0 | 0 | 16.8743 | 14.28 | 0 | 14.0179 | 36.0046 | 0 | 93.3042 | 0 | 0 | 375.732 | 6.46 | 73.9222 | 132.7297 | 59.4302 | 35.9772 | 0 | 0 | 0 | 218.221 | 0 | 692.142 | 67.1298 | 0
1610 |  | 0 | 0 | 0 |  | 2 | 0 | 0 | 11 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 636.7178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56.6877 | 0 | 1.96 | 0 | 21.99 | 68.312 | 0 | 155.7796 | 0 | 69.002 | 5.1156 | 47.088
1613 |  | 0 | 0 | 2.25 | 10 | 0 | 0 | 0.1 | 5 | 10 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.37 | 0 | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1500 | 0 | 17500 | 27 | 27 | 0 | 10 | 78.1259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.4985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 12.8065 | 5.526 | 237.8999
1614 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 1.3 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1615 |  | 0 | 0 | 0 |  | 0 | 0 | 0.085 | 41 | 9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5000 | 28 | 50 | 65 | 9 | 45.7354 | 0 | 0 | 0 | 36.859 | 25.313 | 0 | 0 | 0 | 5.888 | 0 | 0 | 0 | 0 | 200.1846 | 0 | 0 | 330.3084 | 0 | 0 | 0 | 16.832 | 0 | 0 | 0 | 0 | 6.7046 | 0 | 448.6721 | 34.9026 | 0
1620 |  | 0 | 0 | 0 |  | 0 | 18 | 0 | 7 |  | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 14.4302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.8144 | 0 | 0 | 0 | 0 | 0 | 33.7445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7313 | 0 | 13.4485 | 6.7582 | 0
1630 |  | 0 | 0 | 16.5 | 5 | 4 | 0 | 0.956 | 190 | 7 | 1 | 3 | 3.04 | 0 | 3.5 | 0 | 0 | 0 | 2.2 | 0 | 7.7 | 8100 | 207000 | 3800 | 0 | 0 | 0 | 7200 | 12000 | 7200 | 60 | 73.5 | 0 | 28 | 723.6159 | 0 | 0 | 0 | 342.1719 | 380.9096 | 0 | 0 | 0 | 12.9072 | 0 | 0 | 0 | 0 | 196.3915 | 92.584 | 0 | 1103.8874 | 40.345 | 522.0965 | 0 | 36.5435 | 0 | 23.5774 | 0 | 2.835 | 1175.7242 | 0 | 1732.6092 | 144.6044 | 0
1650 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 113 | 9 | 22.6 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.7956 | 0 | 0 | 0 | 21.6 | 72.8775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.048 | 5.4761 | 0 | 655.3298 | 3.9896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.4898 | 0 | 308.4674 | 40.348 | 0
1660 | 19 | 400 | 0.55475 | 0.75 | 44 | 0 | 0 | 2.54 | 117 | 44 | 17.959 | 10 | 7 | 1.15 | 0 | 0.076 | 0 | 0 | 9.9 | 0 | 13 | 20069 | 3235 | 0 | 1100 | 0 | 0 | 27380 | 0 | 38150 | 33.7 | 286.1 | 49.8 | 29 | 633.0783 | 190.7442 | 0 | 0 | 108.8245 | 19.9822 | 0 | 0 | 0 | 32.627 | 0 | 628.0165 | 17.294 | 0 | 0 | 0 | 0 | 716.9996 | 0 | 14.1177 | 33.4259 | 90.5785 | 0 | 17.54 | 0 | 9.1654 | 407.0229 | 0 | 1117.5757 | 92.9932 | 227.2307
1670 |  | 0 | 0 | 112.3 | 10 | 0 | 0 | 0 | 4 | 16 | 190 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 3300 | 0 | 0 | 0 | 0 | 0 | 13.5 | 0 | 16 | 338.7256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.2913 | 0 | 0 | 0 | 0 | 0 | 0 | 137.3943 | 6.0681 | 0
1690 |  | 0 | 0 | 0.75 | 16 | 0 | 0 | 0.19 | 4 | 16 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 15000 | 0 | 15000 | 49.4 | 32.9 | 0 | 16 | 33.5991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 169.689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.6855 | 0 | 0 | 0 | 5.8774 | 3.6576 | 0